## thermal2sottratto
SPECTROMETER/DATA SYSTEM
LOCALE | 1040
RESOLUTION DELTAX XUNITS YUNITS | 0.964233 1/CM ABSORBANCE
999.9101 | 0.021951
1000.8743 | 0.022281
1001.8386 | 0.02209
1002.8028 | 0.021708
1003.767 | 0.021585
1004.7313 | 0.021974
1005.6955 | 0.022744
1006.6597 | 0.02346
1007.624 | 0.023679
1008.5882 | 0.023263
1009.5524 | 0.022495
1010.5167 | 0.021909
1011.4809 | 0.021969
1012.4451 | 0.022787
1013.4094 | 0.02403
1014.3736 | 0.025085
1015.3378 | 0.025395
1016.3021 | 0.024773
1017.2663 | 0.023495
1018.2305 | 0.022108
1019.1948 | 0.021111
1020.159 | 0.020718
1021.1232 | 0.020847
1022.0875 | 0.021285
1023.0517 | 0.021907
1024.016 | 0.022775
1024.9802 | 0.024063
1025.9445 | 0.025889
1026.9087 | 0.028166
1027.8729 | 0.030581
1028.8372 | 0.032716
1029.8014 | 0.034229
1030.7656 | 0.035006
1031.7299 | 0.035199
1032.6941 | 0.035145
1033.6583 | 0.035237
1034.6226 | 0.035793
1035.5868 | 0.036972
1036.551 | 0.038745
1037.5153 | 0.040901
1038.4795 | 0.043109
1039.4437 | 0.045018
1040.408 | 0.046374
1041.3722 | 0.047104
1042.3364 | 0.047334
1043.3007 | 0.047334
1044.2649 | 0.047401
1045.2291 | 0.047753
1046.1934 | 0.04846
1047.1576 | 0.04944
1048.1218 | 0.050527
1049.0861 | 0.051542
1050.0503 | 0.052367
1051.0145 | 0.052979
1051.9788 | 0.053447
1052.943 | 0.053903
1053.9072 | 0.054492
1054.8715 | 0.055321
1055.8357 | 0.056416
1056.7999 | 0.057704
1057.7642 | 0.05902
1058.7284 | 0.06015
1059.6926 | 0.060908
1060.6569 | 0.061233
1061.6211 | 0.061244
1062.5853 | 0.061228
1063.5496 | 0.061529
1064.5138 | 0.062403
1065.478 | 0.063885
1066.4423 | 0.065745
1067.4065 | 0.067547
1068.3707 | 0.068808
1069.335 | 0.069187
1070.2992 | 0.068646
1071.2634 | 0.067497
1072.2277 | 0.066295
1073.1919 | 0.065601
1074.1561 | 0.065722
1075.1204 | 0.066557
1076.0846 | 0.067661
1077.0488 | 0.068481
1078.0131 | 0.068632
1078.9773 | 0.068069
1079.9415 | 0.067047
1080.9058 | 0.065934
1081.87 | 0.064977
1082.8342 | 0.064198
1083.7985 | 0.063454
1084.7627 | 0.062597
1085.7269 | 0.061612
1086.6912 | 0.060636
1087.6554 | 0.059876
1088.6196 | 0.059491
1089.5839 | 0.059506
1090.5481 | 0.059791
1091.5123 | 0.060102
1092.4766 | 0.060158
1093.4408 | 0.059748
1094.405 | 0.058808
1095.3693 | 0.057462
1096.3335 | 0.055968
1097.2977 | 0.054626
1098.262 | 0.053666
1099.2262 | 0.053178
1100.1904 | 0.053109
1101.1547 | 0.053305
1102.1189 | 0.053567
1103.0831 | 0.053704
1104.0474 | 0.053568
1105.0116 | 0.053097
1105.9758 | 0.052324
1106.9401 | 0.051378
1107.9043 | 0.050429
1108.8685 | 0.04962
1109.8328 | 0.049008
1110.797 | 0.048555
1111.7612 | 0.048156
1112.7255 | 0.047702
1113.6897 | 0.047118
1114.6539 | 0.046387
1115.6182 | 0.045546
1116.5824 | 0.044671
1117.5466 | 0.043858
1118.5109 | 0.043182
1119.4751 | 0.042668
1120.4393 | 0.042259
1121.4036 | 0.041831
1122.3678 | 0.041242
1123.332 | 0.040397
1124.2963 | 0.039296
1125.2605 | 0.038036
1126.2247 | 0.03676
1127.189 | 0.035592
1128.1532 | 0.03459
1129.1174 | 0.03373
1130.0817 | 0.032938
1131.0459 | 0.032129
1132.0101 | 0.031241
1132.9744 | 0.030256
1133.9386 | 0.029194
1134.9028 | 0.0281
1135.8671 | 0.027022
1136.8313 | 0.025998
1137.7955 | 0.025043
1138.7598 | 0.024146
1139.724 | 0.023283
1140.6882 | 0.022422
1141.6525 | 0.021541
1142.6167 | 0.020639
1143.5809 | 0.019734
1144.5452 | 0.018854
1145.5094 | 0.018015
1146.4736 | 0.017213
1147.4379 | 0.016426
1148.4021 | 0.015635
1149.3663 | 0.01484
1150.3306 | 0.014067
1151.2948 | 0.013352
1152.259 | 0.012711
1153.2233 | 0.012116
1154.1875 | 0.011506
1155.1517 | 0.010813
1156.116 | 0.010001
1157.0802 | 0.0090845
1158.0444 | 0.0081178
1159.0087 | 0.0071616
1159.9729 | 0.0062524
1160.9371 | 0.0053887
1161.9014 | 0.0045396
1162.8656 | 0.0036677
1163.8298 | 0.0027493
1164.7941 | 0.0017832
1165.7583 | 0.00078798
1166.7225 | -0.00020975
1167.6868 | -0.0011872
1168.651 | -0.0021343
1169.6152 | -0.0030569
1170.5795 | -0.0039722
1171.5437 | -0.0048994
1172.5079 | -0.0058512
1173.4722 | -0.0068293
1174.4364 | -0.0078286
1175.4006 | -0.0088428
1176.3649 | -0.0098688
1177.3291 | -0.010902
1178.2933 | -0.011931
1179.2576 | -0.012929
1180.2218 | -0.013864
1181.186 | -0.01471
1182.1503 | -0.01546
1183.1145 | -0.016131
1184.0787 | -0.01675
1185.043 | -0.01734
1186.0072 | -0.017908
1186.9714 | -0.018444
1187.9357 | -0.01893
1188.8999 | -0.019353
1189.8641 | -0.019711
1190.8284 | -0.020011
1191.7926 | -0.020266
1192.7568 | -0.020491
1193.7211 | -0.020706
1194.6853 | -0.020929
1195.6495 | -0.02118
1196.6138 | -0.021467
1197.578 | -0.021786
1198.5422 | -0.022118
1199.5065 | -0.022437
1200.4707 | -0.022723
1201.4349 | -0.022969
1202.3992 | -0.023179
1203.3634 | -0.023362
1204.3276 | -0.023518
1205.2919 | -0.02364
1206.2561 | -0.023719
1207.2203 | -0.02375
1208.1846 | -0.023733
1209.1488 | -0.023669
1210.113 | -0.023553
1211.0773 | -0.023368
1212.0415 | -0.02309
1213.0057 | -0.022704
1213.97 | -0.022212
1214.9342 | -0.021639
1215.8984 | -0.021021
1216.8627 | -0.020392
1217.8269 | -0.019766
1218.7911 | -0.019136
1219.7554 | -0.01848
1220.7196 | -0.017772
1221.6838 | -0.017003
1222.6481 | -0.016181
1223.6123 | -0.015338
1224.5765 | -0.014512
1225.5408 | -0.013736
1226.505 | -0.013025
1227.4692 | -0.012369
1228.4335 | -0.01175
1229.3977 | -0.011151
1230.3619 | -0.010575
1231.3262 | -0.010045
1232.2904 | -0.009592
1233.2546 | -0.0092397
1234.2189 | -0.0089932
1235.1831 | -0.0088377
1236.1473 | -0.0087475
1237.1116 | -0.0086989
1238.0758 | -0.008678
1239.04 | -0.00868
1240.0043 | -0.0087033
1240.9685 | -0.008743
1241.9327 | -0.0087889
1242.897 | -0.0088278
1243.8612 | -0.008851
1244.8254 | -0.0088593
1245.7897 | -0.0088661
1246.7539 | -0.0088927
1247.7181 | -0.0089604
1248.6824 | -0.0090799
1249.6466 | -0.0092447
1250.6108 | -0.0094328
1251.5751 | -0.0096161
1252.5393 | -0.0097742
1253.5035 | -0.0099057
1254.4678 | -0.010029
1255.432 | -0.010176
1256.3962 | -0.010374
1257.3605 | -0.010642
1258.3247 | -0.01098
1259.2889 | -0.011378
1260.2532 | -0.011818
1261.2174 | -0.012286
1262.1816 | -0.012764
1263.1459 | -0.013238
1264.1101 | -0.013691
1265.0743 | -0.014112
1266.0386 | -0.014496
1267.0028 | -0.014849
1267.967 | -0.015181
1268.9313 | -0.015502
1269.8955 | -0.015817
1270.8597 | -0.016125
1271.824 | -0.016425
1272.7882 | -0.016715
1273.7524 | -0.016995
1274.7167 | -0.017261
1275.6809 | -0.017505
1276.6451 | -0.017714
1277.6094 | -0.017885
1278.5736 | -0.018021
1279.5378 | -0.018138
1280.5021 | -0.018255
1281.4663 | -0.018384
1282.4305 | -0.018528
1283.3948 | -0.018683
1284.359 | -0.018844
1285.3232 | -0.019012
1286.2875 | -0.019189
1287.2517 | -0.01938
1288.2159 | -0.019581
1289.1802 | -0.019784
1290.1444 | -0.019977
1291.1086 | -0.020153
1292.0729 | -0.020309
1293.0371 | -0.020443
1294.0013 | -0.020556
1294.9656 | -0.020647
1295.9298 | -0.02072
1296.894 | -0.020789
1297.8583 | -0.020869
1298.8225 | -0.020975
1299.7867 | -0.021105
1300.751 | -0.021244
1301.7152 | -0.021365
1302.6794 | -0.021442
1303.6437 | -0.021462
1304.6079 | -0.021433
1305.5721 | -0.021383
1306.5364 | -0.02134
1307.5006 | -0.021331
1308.4648 | -0.021365
1309.4291 | -0.021437
1310.3933 | -0.021536
1311.3575 | -0.021649
1312.3218 | -0.02177
1313.286 | -0.021902
1314.2502 | -0.02206
1315.2145 | -0.022266
1316.1787 | -0.02254
1317.1429 | -0.022892
1318.1072 | -0.023315
1319.0714 | -0.02378
1320.0356 | -0.024254
1320.9999 | -0.024704
1321.9641 | -0.025117
1322.9283 | -0.025489
1323.8926 | -0.025825
1324.8568 | -0.026124
1325.821 | -0.02638
1326.7853 | -0.026586
1327.7495 | -0.026734
1328.7137 | -0.026822
1329.678 | -0.026852
1330.6422 | -0.026831
1331.6064 | -0.026771
1332.5707 | -0.026683
1333.5349 | -0.026579
1334.4991 | -0.026461
1335.4634 | -0.026333
1336.4276 | -0.026197
1337.3918 | -0.026064
1338.3561 | -0.025958
1339.3203 | -0.025905
1340.2845 | -0.025922
1341.2488 | -0.026009
1342.213 | -0.026159
1343.1772 | -0.026364
1344.1415 | -0.026622
1345.1057 | -0.026933
1346.0699 | -0.027284
1347.0342 | -0.027654
1347.9984 | -0.028009
1348.9626 | -0.028318
1349.9269 | -0.028564
1350.8911 | -0.028744
1351.8553 | -0.028871
1352.8196 | -0.02896
1353.7838 | -0.02903
1354.748 | -0.02909
1355.7123 | -0.029144
1356.6765 | -0.029193
1357.6407 | -0.029236
1358.605 | -0.029273
1359.5692 | -0.029303
1360.5334 | -0.02931
1361.4977 | -0.029265
1362.4619 | -0.029133
1363.4261 | -0.028906
1364.3904 | -0.02861
1365.3546 | -0.028296
1366.3188 | -0.028014
1367.2831 | -0.027799
1368.2473 | -0.027667
1369.2115 | -0.027609
1370.1758 | -0.027595
1371.14 | -0.027582
1372.1042 | -0.027526
1373.0685 | -0.027382
1374.0327 | -0.027115
1374.9969 | -0.026716
1375.9612 | -0.026207
1376.9254 | -0.025625
1377.8896 | -0.024991
1378.8539 | -0.024312
1379.8181 | -0.023589
1380.7823 | -0.022839
1381.7466 | -0.022093
1382.7108 | -0.021389
1383.675 | -0.020748
1384.6393 | -0.020169
1385.6035 | -0.019636
1386.5677 | -0.019127
1387.532 | -0.018636
1388.4962 | -0.018174
1389.4604 | -0.017759
1390.4247 | -0.017395
1391.3889 | -0.017077
1392.3531 | -0.01679
1393.3174 | -0.016521
1394.2816 | -0.016262
1395.2458 | -0.016012
1396.2101 | -0.015779
1397.1743 | -0.01557
1398.1385 | -0.015389
1399.1028 | -0.015234
1400.067 | -0.015102
1401.0313 | -0.014996
1401.9955 | -0.014923
1402.9597 | -0.014889
1403.924 | -0.014895
1404.8882 | -0.014932
1405.8524 | -0.014981
1406.8167 | -0.01503
1407.7809 | -0.015077
1408.7451 | -0.015132
1409.7094 | -0.015204
1410.6736 | -0.015291
1411.6378 | -0.015379
1412.6021 | -0.015453
1413.5663 | -0.015522
1414.5305 | -0.015628
1415.4948 | -0.015853
1416.459 | -0.0163
1417.4232 | -0.017036
1418.3875 | -0.017998
1419.3517 | -0.018978
1420.3159 | -0.019782
1421.2802 | -0.020378
1422.2444 | -0.020844
1423.2086 | -0.021261
1424.1729 | -0.021662
1425.1371 | -0.022042
1426.1013 | -0.022379
1427.0656 | -0.022648
1428.0298 | -0.022818
1428.994 | -0.022844
1429.9583 | -0.022693
1430.9225 | -0.02238
1431.8867 | -0.021975
1432.851 | -0.021563
1433.8152 | -0.021199
1434.7794 | -0.020884
1435.7437 | -0.020566
1436.7079 | -0.020167
1437.6721 | -0.019653
1438.6364 | -0.019067
1439.6006 | -0.018477
1440.5648 | -0.017929
1441.5291 | -0.01745
1442.4933 | -0.017063
1443.4575 | -0.016785
1444.4218 | -0.01662
1445.386 | -0.016544
1446.3502 | -0.016498
1447.3145 | -0.016405
1448.2787 | -0.016196
1449.2429 | -0.015849
1450.2072 | -0.015401
1451.1714 | -0.014923
1452.1356 | -0.01449
1453.0999 | -0.014172
1454.0641 | -0.014065
1455.0283 | -0.014323
1455.9926 | -0.0151
1456.9568 | -0.016303
1457.921 | -0.017441
1458.8853 | -0.018162
1459.8495 | -0.018571
1460.8137 | -0.018916
1461.778 | -0.019374
1462.7422 | -0.02003
1463.7064 | -0.020857
1464.6707 | -0.021693
1465.6349 | -0.022324
1466.5991 | -0.022673
1467.5634 | -0.022857
1468.5276 | -0.023071
1469.4918 | -0.023495
1470.4561 | -0.024277
1471.4203 | -0.025492
1472.3845 | -0.027025
1473.3488 | -0.028525
1474.313 | -0.029661
1475.2772 | -0.030394
1476.2415 | -0.030863
1477.2057 | -0.031185
1478.1699 | -0.031399
1479.1342 | -0.031501
1480.0984 | -0.031472
1481.0626 | -0.031294
1482.0269 | -0.030958
1482.9911 | -0.030474
1483.9553 | -0.029879
1484.9196 | -0.029219
1485.8838 | -0.02852
1486.848 | -0.027741
1487.8123 | -0.026744
1488.7765 | -0.025361
1489.7407 | -0.02359
1490.705 | -0.021675
1491.6692 | -0.019872
1492.6334 | -0.018256
1493.5977 | -0.01676
1494.5619 | -0.015261
1495.5261 | -0.01361
1496.4904 | -0.011646
1497.4546 | -0.0092838
1498.4188 | -0.00663
1499.3831 | -0.0039499
1500.3473 | -0.001468
1501.3115 | 0.00072951
1502.2758 | 0.0026633
1503.24 | 0.0044353
1504.2042 | 0.0062743
1505.1685 | 0.0086562
1506.1327 | 0.012323
1507.0969 | 0.017559
1508.0612 | 0.023138
1509.0254 | 0.027681
1509.9896 | 0.031212
1510.9539 | 0.034305
1511.9181 | 0.037328
1512.8823 | 0.040397
1513.8466 | 0.04348
1514.8108 | 0.046464
1515.775 | 0.049204
1516.7393 | 0.051597
1517.7035 | 0.05365
1518.6677 | 0.055518
1519.632 | 0.057473
1520.5962 | 0.059777
1521.5604 | 0.062483
1522.5247 | 0.065385
1523.4889 | 0.068243
1524.4531 | 0.071015
1525.4174 | 0.073822
1526.3816 | 0.076722
1527.3458 | 0.079583
1528.3101 | 0.082165
1529.2743 | 0.084332
1530.2385 | 0.086167
1531.2028 | 0.087952
1532.167 | 0.090014
1533.1312 | 0.092462
1534.0955 | 0.095007
1535.0597 | 0.097173
1536.0239 | 0.098703
1536.9882 | 0.099638
1537.9524 | 0.10014
1538.9166 | 0.1003
1539.8809 | 0.10007
1540.8451 | 0.099404
1541.8093 | 0.098407
1542.7736 | 0.097263
1543.7378 | 0.095992
1544.702 | 0.09451
1545.6663 | 0.09274
1546.6305 | 0.090659
1547.5947 | 0.088276
1548.559 | 0.085582
1549.5232 | 0.082525
1550.4874 | 0.079063
1551.4517 | 0.075261
1552.4159 | 0.071349
1553.3801 | 0.067612
1554.3444 | 0.064201
1555.3086 | 0.060964
1556.2728 | 0.057327
1557.2371 | 0.052323
1558.2013 | 0.045569
1559.1655 | 0.03892
1560.1298 | 0.034551
1561.094 | 0.032193
1562.0582 | 0.030641
1563.0225 | 0.029162
1563.9867 | 0.027496
1564.9509 | 0.025614
1565.9152 | 0.023561
1566.8794 | 0.021369
1567.8436 | 0.019058
1568.8079 | 0.016725
1569.7721 | 0.014592
1570.7363 | 0.012869
1571.7006 | 0.011574
1572.6648 | 0.01053
1573.629 | 0.0094737
1574.5933 | 0.008185
1575.5575 | 0.0066553
1576.5217 | 0.0052121
1577.486 | 0.0042662
1578.4502 | 0.0038775
1579.4144 | 0.0037907
1580.3787 | 0.0037494
1581.3429 | 0.003638
1582.3071 | 0.003469
1583.2714 | 0.0033239
1584.2356 | 0.0032858
1585.1998 | 0.003394
1586.1641 | 0.0036482
1587.1283 | 0.004039
1588.0925 | 0.0045628
1589.0568 | 0.005212
1590.021 | 0.0059688
1590.9852 | 0.0068214
1591.9495 | 0.0077908
1592.9137 | 0.0089349
1593.8779 | 0.010318
1594.8422 | 0.011972
1595.8064 | 0.013877
1596.7706 | 0.015996
1597.7349 | 0.01831
1598.6991 | 0.020838
1599.6633 | 0.023616
1600.6276 | 0.026677
1601.5918 | 0.030025
1602.556 | 0.033631
1603.5203 | 0.03743
1604.4845 | 0.041358
1605.4487 | 0.045397
1606.413 | 0.049638
1607.3772 | 0.054286
1608.3414 | 0.059559
1609.3057 | 0.065476
1610.2699 | 0.071738
1611.2341 | 0.07787
1612.1984 | 0.083535
1613.1626 | 0.088765
1614.1268 | 0.094011
1615.0911 | 0.10003
1616.0553 | 0.10737
1617.0195 | 0.11561
1617.9838 | 0.12346
1618.948 | 0.13005
1619.9122 | 0.13556
1620.8765 | 0.1407
1621.8407 | 0.14613
1622.8049 | 0.15201
1623.7692 | 0.15791
1624.7334 | 0.1631
1625.6976 | 0.16732
1626.6619 | 0.17105
1627.6261 | 0.17507
1628.5903 | 0.17982
1629.5546 | 0.18519
1630.5188 | 0.1907
1631.483 | 0.19589
1632.4473 | 0.20058
1633.4115 | 0.20478
1634.3757 | 0.20853
1635.34 | 0.21184
1636.3042 | 0.21483
1637.2684 | 0.21788
1638.2327 | 0.22135
1639.1969 | 0.2253
1640.1611 | 0.2295
1641.1254 | 0.23356
1642.0896 | 0.23711
1643.0538 | 0.23979
1644.0181 | 0.24134
1644.9823 | 0.24174
1645.9465 | 0.24149
1646.9108 | 0.2417
1647.875 | 0.24315
1648.8392 | 0.24552
1649.8035 | 0.24786
1650.7677 | 0.24906
1651.7319 | 0.24779
1652.6962 | 0.24315
1653.6604 | 0.23673
1654.6246 | 0.23196
1655.5889 | 0.22972
1656.5531 | 0.22869
1657.5173 | 0.22767
1658.4816 | 0.22598
1659.4458 | 0.22299
1660.41 | 0.2181
1661.3743 | 0.21122
1662.3385 | 0.20333
1663.3027 | 0.19615
1664.267 | 0.1906
1665.2312 | 0.18632
1666.1954 | 0.18219
1667.1597 | 0.17697
1668.1239 | 0.16994
1669.0881 | 0.16148
1670.0524 | 0.15312
1671.0166 | 0.14613
1671.9808 | 0.14048
1672.9451 | 0.13524
1673.9093 | 0.12945
1674.8735 | 0.12272
1675.8378 | 0.11542
1676.802 | 0.10842
1677.7662 | 0.10239
1678.7305 | 0.097423
1679.6947 | 0.093062
1680.6589 | 0.088398
1681.6232 | 0.082074
1682.5874 | 0.072853
1683.5516 | 0.061377
1684.5159 | 0.0507
1685.4801 | 0.042968
1686.4443 | 0.037569
1687.4086 | 0.033003
1688.3728 | 0.028424
1689.337 | 0.023772
1690.3013 | 0.01933
1691.2655 | 0.01527
1692.2297 | 0.011446
1693.194 | 0.0074595
1694.1582 | 0.0029132
1695.1224 | -0.0023088
1696.0867 | -0.0079264
1697.0509 | -0.013481
1698.0151 | -0.018707
1698.9794 | -0.023588
1699.9436 | -0.028038
1700.9078 | -0.03179
1701.8721 | -0.034692
1702.8363 | -0.036899
1703.8005 | -0.038752
1704.7648 | -0.040556
1705.729 | -0.042406
1706.6932 | -0.04416
1707.6575 | -0.0456
1708.6217 | -0.046646
1709.5859 | -0.047396
1710.5502 | -0.048016
1711.5144 | -0.048641
1712.4786 | -0.049336
1713.4429 | -0.050127
1714.4071 | -0.051026
1715.3713 | -0.052028
1716.3356 | -0.053012
1717.2998 | -0.053711
1718.264 | -0.053943
1719.2283 | -0.053826
1720.1925 | -0.053598
1721.1567 | -0.053423
1722.121 | -0.053367
1723.0852 | -0.053425
1724.0494 | -0.053557
1725.0137 | -0.053709
1725.9779 | -0.053846
1726.9421 | -0.053965
1727.9064 | -0.054084
1728.8706 | -0.054232
1729.8348 | -0.054445
1730.7991 | -0.054749
1731.7633 | -0.055144
1732.7275 | -0.055551
1733.6918 | -0.055808
1734.656 | -0.055812
1735.6202 | -0.055632
1736.5845 | -0.055427
1737.5487 | -0.055308
1738.5129 | -0.055315
1739.4772 | -0.055427
1740.4414 | -0.055584
1741.4056 | -0.05572
1742.3699 | -0.055807
1743.3341 | -0.055866
1744.2983 | -0.055942
1745.2626 | -0.056073
1746.2268 | -0.056275
1747.191 | -0.056554
1748.1553 | -0.056889
1749.1195 | -0.05723
1750.0837 | -0.05751
1751.048 | -0.057687
1752.0122 | -0.057779
1752.9764 | -0.057838
1753.9407 | -0.057911
1754.9049 | -0.058024
1755.8691 | -0.058179
1756.8334 | -0.058358
1757.7976 | -0.058538
1758.7618 | -0.058702
1759.7261 | -0.058844
1760.6903 | -0.058958
1761.6545 | -0.059026
1762.6188 | -0.059027
1763.583 | -0.058954
1764.5472 | -0.058827
1765.5115 | -0.058684
1766.4757 | -0.058572
1767.4399 | -0.058544
1768.4042 | -0.058651
1769.3684 | -0.05892
1770.3326 | -0.059325
1771.2969 | -0.059745
1772.2611 | -0.060006
1773.2253 | -0.059996
1774.1896 | -0.059756
1775.1538 | -0.059422
1776.118 | -0.059111
1777.0823 | -0.058886
1778.0465 | -0.058757
1779.0107 | -0.058696
1779.975 | -0.058663
1780.9392 | -0.058625
1781.9034 | -0.058578
1782.8677 | -0.058532
1783.8319 | -0.058499
1784.7961 | -0.058469
1785.7604 | -0.05843
1786.7246 | -0.05838
1787.6888 | -0.058343
1788.6531 | -0.058361
1789.6173 | -0.058474
1790.5815 | -0.05869
1791.5458 | -0.058948
1792.51 | -0.05913
1793.4742 | -0.059154
1794.4385 | -0.059042
1795.4027 | -0.058877
1796.3669 | -0.05873
1797.3312 | -0.058634
1798.2954 | -0.058588
1799.2596 | -0.058574
1800.2239 | -0.058565
1801.1881 | -0.058545
1802.1523 | -0.058508
1803.1166 | -0.05846
1804.0808 | -0.058409
1805.045 | -0.058366
1806.0093 | -0.058344
1806.9735 | -0.058358
1807.9377 | -0.058413
1808.902 | -0.058498
1809.8662 | -0.058576
1810.8304 | -0.058609
1811.7947 | -0.058577
1812.7589 | -0.0585
1813.7231 | -0.058418
1814.6874 | -0.05837
1815.6516 | -0.058368
1816.6158 | -0.058396
1817.5801 | -0.058423
1818.5443 | -0.058421
1819.5085 | -0.058386
1820.4728 | -0.058338
1821.437 | -0.058307
1822.4012 | -0.058313
1823.3655 | -0.058358
1824.3297 | -0.058429
1825.2939 | -0.058511
1826.2582 | -0.058601
1827.2224 | -0.058704
1828.1866 | -0.058815
1829.1509 | -0.058899
1830.1151 | -0.058912
1831.0793 | -0.058832
1832.0436 | -0.058689
1833.0078 | -0.058542
1833.972 | -0.058442
1834.9363 | -0.058406
1835.9005 | -0.058414
1836.8647 | -0.058421
1837.829 | -0.058382
1838.7932 | -0.058293
1839.7574 | -0.058186
1840.7217 | -0.058116
1841.6859 | -0.058132
1842.6501 | -0.05825
1843.6144 | -0.058431
1844.5786 | -0.058588
1845.5428 | -0.058647
1846.5071 | -0.058604
1847.4713 | -0.058504
1848.4355 | -0.058398
1849.3998 | -0.058315
1850.364 | -0.058261
1851.3282 | -0.058227
1852.2925 | -0.058203
1853.2567 | -0.058184
1854.2209 | -0.058168
1855.1852 | -0.058154
1856.1494 | -0.058142
1857.1136 | -0.058129
1858.0779 | -0.058117
1859.0421 | -0.05811
1860.0063 | -0.058109
1860.9706 | -0.058114
1861.9348 | -0.058119
1862.899 | -0.058121
1863.8633 | -0.058125
1864.8275 | -0.058148
1865.7917 | -0.05821
1866.756 | -0.058322
1867.7202 | -0.058459
1868.6844 | -0.058565
1869.6487 | -0.058587
1870.6129 | -0.058513
1871.5771 | -0.05838
1872.5414 | -0.058232
1873.5056 | -0.058102
1874.4698 | -0.058001
1875.4341 | -0.057931
1876.3983 | -0.057881
1877.3625 | -0.057845
1878.3268 | -0.057823
1879.291 | -0.057821
1880.2552 | -0.057841
1881.2195 | -0.057874
1882.1837 | -0.057903
1883.1479 | -0.057911
1884.1122 | -0.057894
1885.0764 | -0.057861
1886.0406 | -0.057833
1887.0049 | -0.057826
1887.9691 | -0.057846
1888.9333 | -0.057883
1889.8976 | -0.057917
1890.8618 | -0.057931
1891.826 | -0.057924
1892.7903 | -0.057901
1893.7545 | -0.057872
1894.7188 | -0.057842
1895.683 | -0.057813
1896.6472 | -0.057783
1897.6115 | -0.057757
1898.5757 | -0.057739
1899.5399 | -0.057734
1900.5042 | -0.057739
1901.4684 | -0.057746
1902.4326 | -0.057745
1903.3969 | -0.05773
1904.3611 | -0.057705
1905.3253 | -0.057684
1906.2896 | -0.057682
1907.2538 | -0.057711
1908.218 | -0.057767
1909.1823 | -0.057831
1910.1465 | -0.057875
1911.1107 | -0.05788
1912.075 | -0.057846
1913.0392 | -0.057789
1914.0034 | -0.057734
1914.9677 | -0.057702
1915.9319 | -0.057701
1916.8961 | -0.057723
1917.8604 | -0.057747
1918.8246 | -0.057753
1919.7888 | -0.05773
1920.7531 | -0.057684
1921.7173 | -0.057629
1922.6815 | -0.057579
1923.6458 | -0.057544
1924.61 | -0.057528
1925.5742 | -0.057533
1926.5385 | -0.057554
1927.5027 | -0.057583
1928.4669 | -0.057606
1929.4312 | -0.057605
1930.3954 | -0.057564
1931.3596 | -0.057478
1932.3239 | -0.05736
1933.2881 | -0.05724
1934.2523 | -0.05715
1935.2166 | -0.057111
1936.1808 | -0.057122
1937.145 | -0.057168
1938.1093 | -0.057224
1939.0735 | -0.057278
1940.0377 | -0.057326
1941.002 | -0.057375
1941.9662 | -0.057423
1942.9304 | -0.057456
1943.8947 | -0.057454
1944.8589 | -0.057406
1945.8231 | -0.057321
1946.7874 | -0.057223
1947.7516 | -0.057137
1948.7158 | -0.057086
1949.6801 | -0.057073
1950.6443 | -0.057088
1951.6085 | -0.057112
1952.5728 | -0.057127
1953.537 | -0.057119
1954.5012 | -0.057087
1955.4655 | -0.057039
1956.4297 | -0.056989
1957.3939 | -0.056952
1958.3582 | -0.056933
1959.3224 | -0.05693
1960.2866 | -0.05693
1961.2509 | -0.05692
1962.2151 | -0.056892
1963.1793 | -0.05685
1964.1436 | -0.056807
1965.1078 | -0.056775
1966.072 | -0.056768
1967.0363 | -0.056787
1968.0005 | -0.056822
1968.9647 | -0.05686
1969.929 | -0.056883
1970.8932 | -0.05688
1971.8574 | -0.056849
1972.8217 | -0.056794
1973.7859 | -0.05673
1974.7501 | -0.056674
1975.7144 | -0.056638
1976.6786 | -0.056624
1977.6428 | -0.056624
1978.6071 | -0.056626
1979.5713 | -0.056619
1980.5355 | -0.056604
1981.4998 | -0.056586
1982.464 | -0.056573
1983.4282 | -0.056572
1984.3925 | -0.056579
1985.3567 | -0.056583
1986.3209 | -0.056573
1987.2852 | -0.056545
1988.2494 | -0.056504
1989.2136 | -0.056463
1990.1779 | -0.056435
1991.1421 | -0.056424
1992.1063 | -0.056421
1993.0706 | -0.056413
1994.0348 | -0.056389
1994.999 | -0.056352
1995.9633 | -0.056319
1996.9275 | -0.056305
1997.8917 | -0.05632
1998.856 | -0.056357
1999.8202 | -0.056395
2000.7844 | -0.056413
##### Extended Information
[Comment]
Sample Name
Comment
User
Division
Company | Bicocca
[Data Information]
Creation Date | 08/04/2019 13.01
Data array type | Linear data array
Horizontal | Wavenumber [cm-1]
Vertical | Abs
Start | 999.91 cm-1
End | 2000.78 cm-1
Data pitch | 0.964233 cm-1
Data points | 1039
[Measurement Information]
Model Name | FT/IR-4100typeA
Serial Number | B117061016
Light Source | Standard
Detector | TGS
Accumulation | Auto (302)
Resolution | 4 cm-1
Zero Filling | On
Apodization | Cosine
Gain | Auto (32)
Aperture | Auto (7.1 mm)
Scanning Speed | Auto (2 mm/sec)
Filter | Auto (30000 Hz)