## s_lisozima
SPECTROMETER/DATA SYSTEM
LOCALE | 1040
RESOLUTION DELTAX XUNITS YUNITS | 0.964233 1/CM ABSORBANCE
999.9101 | 0.015059
1000.8743 | 0.0168
1001.8386 | 0.018719
1002.8028 | 0.020431
1003.767 | 0.021396
1004.7313 | 0.021315
1005.6955 | 0.020485
1006.6597 | 0.019788
1007.624 | 0.020215
1008.5882 | 0.022156
1009.5524 | 0.024975
1010.5167 | 0.027252
1011.4809 | 0.027638
1012.4451 | 0.025728
1013.4094 | 0.022348
1014.3736 | 0.019051
1015.3378 | 0.017192
1016.3021 | 0.017196
1017.2663 | 0.018485
1018.2305 | 0.020048
1019.1948 | 0.021175
1020.159 | 0.02181
1021.1232 | 0.022349
1022.0875 | 0.023158
1023.0517 | 0.024217
1024.016 | 0.02514
1024.9802 | 0.025478
1025.9445 | 0.025051
1026.9087 | 0.024095
1027.8729 | 0.023158
1028.8372 | 0.02285
1029.8014 | 0.023549
1030.7656 | 0.025215
1031.7299 | 0.027375
1032.6941 | 0.029314
1033.6583 | 0.0304
1034.6226 | 0.030381
1035.5868 | 0.029474
1036.551 | 0.028189
1037.5153 | 0.026991
1038.4795 | 0.026029
1039.4437 | 0.025111
1040.408 | 0.023921
1041.3722 | 0.022337
1042.3364 | 0.020604
1043.3007 | 0.019279
1044.2649 | 0.018937
1045.2291 | 0.019814
1046.1934 | 0.021586
1047.1576 | 0.023438
1048.1218 | 0.024424
1049.0861 | 0.023943
1050.0503 | 0.022088
1051.0145 | 0.019642
1051.9788 | 0.017705
1052.943 | 0.017125
1053.9072 | 0.018045
1054.8715 | 0.019844
1055.8357 | 0.02151
1056.7999 | 0.022237
1057.7642 | 0.021834
1058.7284 | 0.020721
1059.6926 | 0.019554
1060.6569 | 0.018797
1061.6211 | 0.018507
1062.5853 | 0.01843
1063.5496 | 0.018259
1064.5138 | 0.017853
1065.478 | 0.017271
1066.4423 | 0.016673
1067.4065 | 0.01623
1068.3707 | 0.016104
1069.335 | 0.01647
1070.2992 | 0.01747
1071.2634 | 0.019076
1072.2277 | 0.020969
1073.1919 | 0.022572
1074.1561 | 0.023313
1075.1204 | 0.022953
1076.0846 | 0.021736
1077.0488 | 0.020236
1078.0131 | 0.01903
1078.9773 | 0.018409
1079.9415 | 0.018288
1080.9058 | 0.018332
1081.87 | 0.01821
1082.8342 | 0.017794
1083.7985 | 0.017163
1084.7627 | 0.016486
1085.7269 | 0.015897
1086.6912 | 0.015474
1087.6554 | 0.015291
1088.6196 | 0.015455
1089.5839 | 0.016048
1090.5481 | 0.017034
1091.5123 | 0.018203
1092.4766 | 0.019246
1093.4408 | 0.019904
1094.405 | 0.020107
1095.3693 | 0.01999
1096.3335 | 0.019774
1097.2977 | 0.019623
1098.262 | 0.019565
1099.2262 | 0.019538
1100.1904 | 0.019494
1101.1547 | 0.019465
1102.1189 | 0.019546
1103.0831 | 0.019812
1104.0474 | 0.020246
1105.0116 | 0.020734
1105.9758 | 0.02113
1106.9401 | 0.021337
1107.9043 | 0.021358
1108.8685 | 0.021278
1109.8328 | 0.021207
1110.797 | 0.021215
1111.7612 | 0.021301
1112.7255 | 0.02141
1113.6897 | 0.021482
1114.6539 | 0.021512
1115.6182 | 0.021567
1116.5824 | 0.021753
1117.5466 | 0.022149
1118.5109 | 0.022737
1119.4751 | 0.023393
1120.4393 | 0.023944
1121.4036 | 0.024264
1122.3678 | 0.024341
1123.332 | 0.024276
1124.2963 | 0.0242
1125.2605 | 0.024188
1126.2247 | 0.024219
1127.189 | 0.024213
1128.1532 | 0.024109
1129.1174 | 0.02393
1130.0817 | 0.023772
1131.0459 | 0.023739
1132.0101 | 0.023874
1132.9744 | 0.024126
1133.9386 | 0.024385
1134.9028 | 0.024551
1135.8671 | 0.024587
1136.8313 | 0.024529
1137.7955 | 0.024455
1138.7598 | 0.024435
1139.724 | 0.024502
1140.6882 | 0.024644
1141.6525 | 0.02482
1142.6167 | 0.024982
1143.5809 | 0.02509
1144.5452 | 0.025116
1145.5094 | 0.025058
1146.4736 | 0.024935
1147.4379 | 0.024796
1148.4021 | 0.0247
1149.3663 | 0.024693
1150.3306 | 0.024787
1151.2948 | 0.024947
1152.259 | 0.025105
1153.2233 | 0.025198
1154.1875 | 0.025208
1155.1517 | 0.025167
1156.116 | 0.025145
1157.0802 | 0.025203
1158.0444 | 0.02536
1159.0087 | 0.025579
1159.9729 | 0.025802
1160.9371 | 0.02598
1161.9014 | 0.0261
1162.8656 | 0.026174
1163.8298 | 0.026219
1164.7941 | 0.026238
1165.7583 | 0.026226
1166.7225 | 0.026187
1167.6868 | 0.026149
1168.651 | 0.026153
1169.6152 | 0.026226
1170.5795 | 0.026356
1171.5437 | 0.026489
1172.5079 | 0.026556
1173.4722 | 0.026506
1174.4364 | 0.026336
1175.4006 | 0.02609
1176.3649 | 0.025836
1177.3291 | 0.025633
1178.2933 | 0.025511
1179.2576 | 0.025461
1180.2218 | 0.025449
1181.186 | 0.025429
1182.1503 | 0.025364
1183.1145 | 0.025235
1184.0787 | 0.025044
1185.043 | 0.024817
1186.0072 | 0.024592
1186.9714 | 0.024411
1187.9357 | 0.02431
1188.8999 | 0.024302
1189.8641 | 0.024379
1190.8284 | 0.024513
1191.7926 | 0.024665
1192.7568 | 0.024803
1193.7211 | 0.024906
1194.6853 | 0.02497
1195.6495 | 0.024995
1196.6138 | 0.024987
1197.578 | 0.02495
1198.5422 | 0.024893
1199.5065 | 0.02483
1200.4707 | 0.024778
1201.4349 | 0.024746
1202.3992 | 0.024733
1203.3634 | 0.024727
1204.3276 | 0.024712
1205.2919 | 0.024681
1206.2561 | 0.024633
1207.2203 | 0.02457
1208.1846 | 0.024498
1209.1488 | 0.024425
1210.113 | 0.024372
1211.0773 | 0.024374
1212.0415 | 0.024473
1213.0057 | 0.02469
1213.97 | 0.025006
1214.9342 | 0.025361
1215.8984 | 0.025675
1216.8627 | 0.025889
1217.8269 | 0.025992
1218.7911 | 0.026026
1219.7554 | 0.026054
1220.7196 | 0.026128
1221.6838 | 0.026264
1222.6481 | 0.026446
1223.6123 | 0.026648
1224.5765 | 0.026857
1225.5408 | 0.027082
1226.505 | 0.027334
1227.4692 | 0.027616
1228.4335 | 0.027913
1229.3977 | 0.028198
1230.3619 | 0.028449
1231.3262 | 0.028656
1232.2904 | 0.028823
1233.2546 | 0.028959
1234.2189 | 0.02907
1235.1831 | 0.029163
1236.1473 | 0.029244
1237.1116 | 0.029323
1238.0758 | 0.029407
1239.04 | 0.02949
1240.0043 | 0.029555
1240.9685 | 0.029582
1241.9327 | 0.029561
1242.897 | 0.029503
1243.8612 | 0.029445
1244.8254 | 0.029425
1245.7897 | 0.029466
1246.7539 | 0.029563
1247.7181 | 0.029686
1248.6824 | 0.029793
1249.6466 | 0.029852
1250.6108 | 0.029856
1251.5751 | 0.029822
1252.5393 | 0.029777
1253.5035 | 0.029745
1254.4678 | 0.029731
1255.432 | 0.029721
1256.3962 | 0.029698
1257.3605 | 0.029653
1258.3247 | 0.029598
1259.2889 | 0.029555
1260.2532 | 0.02954
1261.2174 | 0.029543
1262.1816 | 0.029527
1263.1459 | 0.029446
1264.1101 | 0.029271
1265.0743 | 0.029008
1266.0386 | 0.028697
1267.0028 | 0.028394
1267.967 | 0.028143
1268.9313 | 0.027969
1269.8955 | 0.027867
1270.8597 | 0.027814
1271.824 | 0.027781
1272.7882 | 0.027741
1273.7524 | 0.02768
1274.7167 | 0.027598
1275.6809 | 0.027507
1276.6451 | 0.027426
1277.6094 | 0.027368
1278.5736 | 0.027331
1279.5378 | 0.027296
1280.5021 | 0.027239
1281.4663 | 0.027141
1282.4305 | 0.027003
1283.3948 | 0.026846
1284.359 | 0.026697
1285.3232 | 0.026575
1286.2875 | 0.026489
1287.2517 | 0.026435
1288.2159 | 0.026405
1289.1802 | 0.026391
1290.1444 | 0.026383
1291.1086 | 0.026367
1292.0729 | 0.026326
1293.0371 | 0.026252
1294.0013 | 0.026149
1294.9656 | 0.02604
1295.9298 | 0.025952
1296.894 | 0.025903
1297.8583 | 0.025889
1298.8225 | 0.025885
1299.7867 | 0.025862
1300.751 | 0.025805
1301.7152 | 0.025718
1302.6794 | 0.025618
1303.6437 | 0.025523
1304.6079 | 0.025442
1305.5721 | 0.025376
1306.5364 | 0.025323
1307.5006 | 0.025283
1308.4648 | 0.025257
1309.4291 | 0.025245
1310.3933 | 0.025239
1311.3575 | 0.025229
1312.3218 | 0.025207
1313.286 | 0.02517
1314.2502 | 0.025122
1315.2145 | 0.025065
1316.1787 | 0.024995
1317.1429 | 0.024904
1318.1072 | 0.024781
1319.0714 | 0.024625
1320.0356 | 0.024445
1320.9999 | 0.024259
1321.9641 | 0.024079
1322.9283 | 0.023912
1323.8926 | 0.023756
1324.8568 | 0.02361
1325.821 | 0.023476
1326.7853 | 0.023367
1327.7495 | 0.023302
1328.7137 | 0.023298
1329.678 | 0.023357
1330.6422 | 0.023461
1331.6064 | 0.023577
1332.5707 | 0.023669
1333.5349 | 0.023717
1334.4991 | 0.023724
1335.4634 | 0.023715
1336.4276 | 0.023724
1337.3918 | 0.023777
1338.3561 | 0.023882
1339.3203 | 0.02402
1340.2845 | 0.024155
1341.2488 | 0.024253
1342.213 | 0.024289
1343.1772 | 0.02425
1344.1415 | 0.024128
1345.1057 | 0.023933
1346.0699 | 0.023697
1347.0342 | 0.023463
1347.9984 | 0.023275
1348.9626 | 0.023147
1349.9269 | 0.023061
1350.8911 | 0.022971
1351.8553 | 0.022839
1352.8196 | 0.022651
1353.7838 | 0.022432
1354.748 | 0.022226
1355.7123 | 0.022076
1356.6765 | 0.021998
1357.6407 | 0.021978
1358.605 | 0.021986
1359.5692 | 0.022
1360.5334 | 0.022008
1361.4977 | 0.022018
1362.4619 | 0.022047
1363.4261 | 0.022105
1364.3904 | 0.022188
1365.3546 | 0.02228
1366.3188 | 0.022361
1367.2831 | 0.022412
1368.2473 | 0.02242
1369.2115 | 0.022382
1370.1758 | 0.022305
1371.14 | 0.022206
1372.1042 | 0.02211
1373.0685 | 0.022046
1374.0327 | 0.022043
1374.9969 | 0.022119
1375.9612 | 0.022271
1376.9254 | 0.022481
1377.8896 | 0.022728
1378.8539 | 0.022994
1379.8181 | 0.023262
1380.7823 | 0.023518
1381.7466 | 0.023753
1382.7108 | 0.023965
1383.675 | 0.024158
1384.6393 | 0.024332
1385.6035 | 0.024472
1386.5677 | 0.024556
1387.532 | 0.02457
1388.4962 | 0.024532
1389.4604 | 0.024482
1390.4247 | 0.024459
1391.3889 | 0.024483
1392.3531 | 0.024548
1393.3174 | 0.024639
1394.2816 | 0.024727
1395.2458 | 0.024793
1396.2101 | 0.02483
1397.1743 | 0.024851
1398.1385 | 0.02487
1399.1028 | 0.024885
1400.067 | 0.024882
1401.0313 | 0.024841
1401.9955 | 0.024751
1402.9597 | 0.024616
1403.924 | 0.02446
1404.8882 | 0.02432
1405.8524 | 0.024237
1406.8167 | 0.024232
1407.7809 | 0.024298
1408.7451 | 0.024407
1409.7094 | 0.024527
1410.6736 | 0.024628
1411.6378 | 0.024688
1412.6021 | 0.024703
1413.5663 | 0.024683
1414.5305 | 0.024646
1415.4948 | 0.024606
1416.459 | 0.024564
1417.4232 | 0.024505
1418.3875 | 0.024403
1419.3517 | 0.024246
1420.3159 | 0.024057
1421.2802 | 0.023874
1422.2444 | 0.02372
1423.2086 | 0.023598
1424.1729 | 0.023495
1425.1371 | 0.023391
1426.1013 | 0.023273
1427.0656 | 0.023144
1428.0298 | 0.023023
1428.994 | 0.022939
1429.9583 | 0.022907
1430.9225 | 0.022918
1431.8867 | 0.02295
1432.851 | 0.022994
1433.8152 | 0.023078
1434.7794 | 0.023263
1435.7437 | 0.02361
1436.7079 | 0.024108
1437.6721 | 0.024643
1438.6364 | 0.025093
1439.6006 | 0.02541
1440.5648 | 0.025614
1441.5291 | 0.025737
1442.4933 | 0.025802
1443.4575 | 0.02582
1444.4218 | 0.025811
1445.386 | 0.025806
1446.3502 | 0.025852
1447.3145 | 0.025984
1448.2787 | 0.026196
1449.2429 | 0.026435
1450.2072 | 0.026632
1451.1714 | 0.026744
1452.1356 | 0.026767
1453.0999 | 0.026727
1454.0641 | 0.026661
1455.0283 | 0.026611
1455.9926 | 0.026599
1456.9568 | 0.026585
1457.921 | 0.026482
1458.8853 | 0.026272
1459.8495 | 0.026003
1460.8137 | 0.02571
1461.778 | 0.0254
1462.7422 | 0.025078
1463.7064 | 0.02476
1464.6707 | 0.024483
1465.6349 | 0.024275
1466.5991 | 0.02413
1467.5634 | 0.024006
1468.5276 | 0.023858
1469.4918 | 0.02365
1470.4561 | 0.02335
1471.4203 | 0.022936
1472.3845 | 0.022418
1473.3488 | 0.02186
1474.313 | 0.021356
1475.2772 | 0.020967
1476.2415 | 0.020698
1477.2057 | 0.020529
1478.1699 | 0.020438
1479.1342 | 0.020404
1480.0984 | 0.020407
1481.0626 | 0.02043
1482.0269 | 0.020462
1482.9911 | 0.020503
1483.9553 | 0.020559
1484.9196 | 0.020641
1485.8838 | 0.02078
1486.848 | 0.021039
1487.8123 | 0.021506
1488.7765 | 0.022222
1489.7407 | 0.023077
1490.705 | 0.023867
1491.6692 | 0.024467
1492.6334 | 0.024885
1493.5977 | 0.025201
1494.5619 | 0.025516
1495.5261 | 0.025947
1496.4904 | 0.026595
1497.4546 | 0.027472
1498.4188 | 0.028443
1499.3831 | 0.029319
1500.3473 | 0.03
1501.3115 | 0.03049
1502.2758 | 0.030837
1503.24 | 0.031102
1504.2042 | 0.031369
1505.1685 | 0.031802
1506.1327 | 0.032666
1507.0969 | 0.034095
1508.0612 | 0.035714
1509.0254 | 0.037083
1509.9896 | 0.038177
1510.9539 | 0.039135
1511.9181 | 0.04006
1512.8823 | 0.041009
1513.8466 | 0.042011
1514.8108 | 0.043069
1515.775 | 0.044131
1516.7393 | 0.04509
1517.7035 | 0.045823
1518.6677 | 0.04628
1519.632 | 0.046545
1520.5962 | 0.046823
1521.5604 | 0.047329
1522.5247 | 0.048152
1523.4889 | 0.049236
1524.4531 | 0.050483
1525.4174 | 0.051812
1526.3816 | 0.053125
1527.3458 | 0.054287
1528.3101 | 0.055181
1529.2743 | 0.055797
1530.2385 | 0.056276
1531.2028 | 0.056887
1532.167 | 0.057919
1533.1312 | 0.059469
1534.0955 | 0.061264
1535.0597 | 0.062845
1536.0239 | 0.063946
1536.9882 | 0.064611
1537.9524 | 0.065079
1538.9166 | 0.065657
1539.8809 | 0.066543
1540.8451 | 0.067459
1541.8093 | 0.06778
1542.7736 | 0.067395
1543.7378 | 0.066641
1544.702 | 0.065764
1545.6663 | 0.064843
1546.6305 | 0.063884
1547.5947 | 0.062872
1548.559 | 0.06178
1549.5232 | 0.060556
1550.4874 | 0.059148
1551.4517 | 0.057537
1552.4159 | 0.055779
1553.3801 | 0.053981
1554.3444 | 0.052226
1555.3086 | 0.0505
1556.2728 | 0.048665
1557.2371 | 0.046508
1558.2013 | 0.044033
1559.1655 | 0.041815
1560.1298 | 0.040374
1561.094 | 0.039514
1562.0582 | 0.038836
1563.0225 | 0.038124
1563.9867 | 0.037315
1564.9509 | 0.036428
1565.9152 | 0.03552
1566.8794 | 0.034669
1567.8436 | 0.033951
1568.8079 | 0.03342
1569.7721 | 0.033068
1570.7363 | 0.032822
1571.7006 | 0.032587
1572.6648 | 0.032275
1573.629 | 0.03182
1574.5933 | 0.031191
1575.5575 | 0.030459
1576.5217 | 0.029827
1577.486 | 0.029487
1578.4502 | 0.029435
1579.4144 | 0.029517
1580.3787 | 0.029577
1581.3429 | 0.029524
1582.3071 | 0.029334
1583.2714 | 0.029058
1584.2356 | 0.028799
1585.1998 | 0.02868
1586.1641 | 0.028781
1587.1283 | 0.029099
1588.0925 | 0.029546
1589.0568 | 0.029981
1590.021 | 0.030272
1590.9852 | 0.03037
1591.9495 | 0.030332
1592.9137 | 0.03029
1593.8779 | 0.030377
1594.8422 | 0.030655
1595.8064 | 0.031104
1596.7706 | 0.031658
1597.7349 | 0.03227
1598.6991 | 0.032939
1599.6633 | 0.033687
1600.6276 | 0.034514
1601.5918 | 0.035376
1602.556 | 0.036188
1603.5203 | 0.03688
1604.4845 | 0.037444
1605.4487 | 0.037954
1606.413 | 0.038546
1607.3772 | 0.039376
1608.3414 | 0.040568
1609.3057 | 0.042138
1610.2699 | 0.043968
1611.2341 | 0.045864
1612.1984 | 0.047664
1613.1626 | 0.049286
1614.1268 | 0.050718
1615.0911 | 0.051983
1616.0553 | 0.053094
1617.0195 | 0.054021
1617.9838 | 0.054759
1618.948 | 0.055426
1619.9122 | 0.05623
1620.8765 | 0.057381
1621.8407 | 0.05902
1622.8049 | 0.061102
1623.7692 | 0.063269
1624.7334 | 0.065001
1625.6976 | 0.066064
1626.6619 | 0.066744
1627.6261 | 0.067588
1628.5903 | 0.068969
1629.5546 | 0.07083
1630.5188 | 0.072786
1631.483 | 0.074458
1632.4473 | 0.075715
1633.4115 | 0.076749
1634.3757 | 0.078048
1635.34 | 0.080146
1636.3042 | 0.082939
1637.2684 | 0.085508
1638.2327 | 0.087204
1639.1969 | 0.088151
1640.1611 | 0.088741
1641.1254 | 0.089236
1642.0896 | 0.089705
1643.0538 | 0.090065
1644.0181 | 0.090163
1644.9823 | 0.089906
1645.9465 | 0.089466
1646.9108 | 0.089303
1647.875 | 0.089724
1648.8392 | 0.090508
1649.8035 | 0.091137
1650.7677 | 0.091096
1651.7319 | 0.090002
1652.6962 | 0.087983
1653.6604 | 0.08618
1654.6246 | 0.085665
1655.5889 | 0.086078
1656.5531 | 0.08659
1657.5173 | 0.086746
1658.4816 | 0.086332
1659.4458 | 0.085154
1660.41 | 0.083029
1661.3743 | 0.080033
1662.3385 | 0.076753
1663.3027 | 0.074016
1664.267 | 0.072241
1665.2312 | 0.071247
1666.1954 | 0.070552
1667.1597 | 0.069638
1668.1239 | 0.068115
1669.0881 | 0.065918
1670.0524 | 0.063408
1671.0166 | 0.061087
1671.9808 | 0.059175
1672.9451 | 0.057583
1673.9093 | 0.056115
1674.8735 | 0.054621
1675.8378 | 0.053059
1676.802 | 0.051482
1677.7662 | 0.049961
1678.7305 | 0.04851
1679.6947 | 0.047053
1680.6589 | 0.045427
1681.6232 | 0.043392
1682.5874 | 0.040805
1683.5516 | 0.037979
1684.5159 | 0.03565
1685.4801 | 0.034148
1686.4443 | 0.033129
1687.4086 | 0.032156
1688.3728 | 0.031033
1689.337 | 0.029783
1690.3013 | 0.028516
1691.2655 | 0.027305
1692.2297 | 0.026133
1693.194 | 0.024909
1694.1582 | 0.023531
1695.1224 | 0.021964
1696.0867 | 0.02028
1697.0509 | 0.018628
1698.0151 | 0.017147
1698.9794 | 0.015917
1699.9436 | 0.014975
1700.9078 | 0.014315
1701.8721 | 0.013864
1702.8363 | 0.013511
1703.8005 | 0.013144
1704.7648 | 0.012686
1705.729 | 0.012129
1706.6932 | 0.011541
1707.6575 | 0.011021
1708.6217 | 0.010625
1709.5859 | 0.010349
1710.5502 | 0.010153
1711.5144 | 0.0099961
1712.4786 | 0.0098451
1713.4429 | 0.0096829
1714.4071 | 0.0095034
1715.3713 | 0.0093102
1716.3356 | 0.0091224
1717.2998 | 0.0089864
1718.264 | 0.0089379
1719.2283 | 0.0089432
1720.1925 | 0.0089393
1721.1567 | 0.0088928
1722.121 | 0.0088051
1723.0852 | 0.0086958
1724.0494 | 0.0085885
1725.0137 | 0.0085003
1725.9779 | 0.0084345
1726.9421 | 0.0083805
1727.9064 | 0.0083208
1728.8706 | 0.0082384
1729.8348 | 0.0081225
1730.7991 | 0.0079734
1731.7633 | 0.0078118
1732.7275 | 0.0076862
1733.6918 | 0.0076544
1734.656 | 0.0077272
1735.6202 | 0.0078435
1736.5845 | 0.0079258
1737.5487 | 0.007932
1738.5129 | 0.0078603
1739.4772 | 0.00774
1740.4414 | 0.0076192
1741.4056 | 0.0075427
1742.3699 | 0.0075228
1743.3341 | 0.0075315
1744.2983 | 0.007524
1745.2626 | 0.0074669
1746.2268 | 0.0073549
1747.191 | 0.0072162
1748.1553 | 0.0071056
1749.1195 | 0.0070789
1750.0837 | 0.0071513
1751.048 | 0.0072784
1752.0122 | 0.0073898
1752.9764 | 0.0074373
1753.9407 | 0.0074104
1754.9049 | 0.007325
1755.8691 | 0.007209
1756.8334 | 0.0070909
1757.7976 | 0.0069936
1758.7618 | 0.0069298
1759.7261 | 0.0069025
1760.6903 | 0.0069057
1761.6545 | 0.0069257
1762.6188 | 0.0069441
1763.583 | 0.0069463
1764.5472 | 0.0069296
1765.5115 | 0.0069044
1766.4757 | 0.0068888
1767.4399 | 0.0068997
1768.4042 | 0.006943
1769.3684 | 0.0070079
1770.3326 | 0.0070667
1771.2969 | 0.0070863
1772.2611 | 0.007051
1773.2253 | 0.0069754
1774.1896 | 0.0068887
1775.1538 | 0.0068094
1776.118 | 0.0067417
1777.0823 | 0.006686
1778.0465 | 0.0066461
1779.0107 | 0.0066291
1779.975 | 0.0066398
1780.9392 | 0.0066756
1781.9034 | 0.0067278
1782.8677 | 0.0067865
1783.8319 | 0.0068438
1784.7961 | 0.0068909
1785.7604 | 0.0069156
1786.7246 | 0.0069044
1787.6888 | 0.0068484
1788.6531 | 0.0067499
1789.6173 | 0.0066271
1790.5815 | 0.0065162
1791.5458 | 0.0064606
1792.51 | 0.00648
1793.4742 | 0.0065489
1794.4385 | 0.0066173
1795.4027 | 0.0066508
1796.3669 | 0.0066432
1797.3312 | 0.0066076
1798.2954 | 0.0065625
1799.2596 | 0.0065223
1800.2239 | 0.0064914
1801.1881 | 0.0064671
1802.1523 | 0.0064473
1803.1166 | 0.0064352
1804.0808 | 0.0064353
1805.045 | 0.0064475
1806.0093 | 0.0064647
1806.9735 | 0.0064763
1807.9377 | 0.006474
1808.902 | 0.0064574
1809.8662 | 0.0064343
1810.8304 | 0.0064157
1811.7947 | 0.0064082
1812.7589 | 0.0064124
1813.7231 | 0.0064264
1814.6874 | 0.0064512
1815.6516 | 0.0064892
1816.6158 | 0.0065386
1817.5801 | 0.0065873
1818.5443 | 0.0066151
1819.5085 | 0.0066045
1820.4728 | 0.0065518
1821.437 | 0.0064701
1822.4012 | 0.0063837
1823.3655 | 0.0063169
1824.3297 | 0.006281
1825.2939 | 0.0062687
1826.2582 | 0.0062626
1827.2224 | 0.0062505
1828.1866 | 0.0062351
1829.1509 | 0.0062305
1830.1151 | 0.006247
1831.0793 | 0.0062787
1832.0436 | 0.0063059
1833.0078 | 0.0063107
1833.972 | 0.0062889
1834.9363 | 0.0062518
1835.9005 | 0.0062206
1836.8647 | 0.0062136
1837.829 | 0.0062346
1838.7932 | 0.0062702
1839.7574 | 0.0062998
1840.7217 | 0.0063094
1841.6859 | 0.0062976
1842.6501 | 0.0062761
1843.6144 | 0.006262
1844.5786 | 0.0062656
1845.5428 | 0.0062818
1846.5071 | 0.0062974
1847.4713 | 0.0063037
1848.4355 | 0.0063004
1849.3998 | 0.0062919
1850.364 | 0.006281
1851.3282 | 0.0062657
1852.2925 | 0.0062412
1853.2567 | 0.0062058
1854.2209 | 0.0061655
1855.1852 | 0.0061335
1856.1494 | 0.0061223
1857.1136 | 0.0061356
1858.0779 | 0.006165
1859.0421 | 0.0061949
1860.0063 | 0.0062123
1860.9706 | 0.0062138
1861.9348 | 0.0062039
1862.899 | 0.0061881
1863.8633 | 0.0061666
1864.8275 | 0.0061353
1865.7917 | 0.0060928
1866.756 | 0.0060481
1867.7202 | 0.0060213
1868.6844 | 0.0060307
1869.6487 | 0.006075
1870.6129 | 0.0061315
1871.5771 | 0.0061732
1872.5414 | 0.0061877
1873.5056 | 0.0061803
1874.4698 | 0.006168
1875.4341 | 0.0061664
1876.3983 | 0.0061791
1877.3625 | 0.0061942
1878.3268 | 0.0061944
1879.291 | 0.0061706
1880.2552 | 0.0061306
1881.2195 | 0.0060934
1882.1837 | 0.0060762
1883.1479 | 0.0060822
1884.1122 | 0.0060986
1885.0764 | 0.0061066
1886.0406 | 0.0060953
1887.0049 | 0.0060683
1887.9691 | 0.0060412
1888.9333 | 0.0060298
1889.8976 | 0.0060372
1890.8618 | 0.0060506
1891.826 | 0.0060507
1892.7903 | 0.0060251
1893.7545 | 0.0059763
1894.7188 | 0.0059207
1895.683 | 0.0058806
1896.6472 | 0.005873
1897.6115 | 0.0059009
1898.5757 | 0.005953
1899.5399 | 0.0060105
1900.5042 | 0.0060565
1901.4684 | 0.006082
1902.4326 | 0.0060869
1903.3969 | 0.0060769
1904.3611 | 0.0060572
1905.3253 | 0.0060295
1906.2896 | 0.0059923
1907.2538 | 0.0059461
1908.218 | 0.0058975
1909.1823 | 0.0058584
1910.1465 | 0.0058392
1911.1107 | 0.0058411
1912.075 | 0.0058545
1913.0392 | 0.0058659
1914.0034 | 0.005867
1914.9677 | 0.0058588
1915.9319 | 0.0058505
1916.8961 | 0.0058525
1917.8604 | 0.0058688
1918.8246 | 0.0058942
1919.7888 | 0.0059196
1920.7531 | 0.005939
1921.7173 | 0.0059522
1922.6815 | 0.005962
1923.6458 | 0.0059699
1924.61 | 0.0059734
1925.5742 | 0.0059672
1926.5385 | 0.0059463
1927.5027 | 0.0059102
1928.4669 | 0.0058642
1929.4312 | 0.0058206
1930.3954 | 0.005795
1931.3596 | 0.0058003
1932.3239 | 0.0058393
1933.2881 | 0.0059011
1934.2523 | 0.0059642
1935.2166 | 0.0060053
1936.1808 | 0.0060107
1937.145 | 0.0059811
1938.1093 | 0.005929
1939.0735 | 0.0058693
1940.0377 | 0.0058132
1941.002 | 0.0057674
1941.9662 | 0.005738
1942.9304 | 0.0057336
1943.8947 | 0.0057622
1944.8589 | 0.005822
1945.8231 | 0.0058969
1946.7874 | 0.0059603
1947.7516 | 0.0059875
1948.7158 | 0.0059683
1949.6801 | 0.0059143
1950.6443 | 0.0058531
1951.6085 | 0.005814
1952.5728 | 0.0058123
1953.537 | 0.0058426
1954.5012 | 0.0058844
1955.4655 | 0.0059152
1956.4297 | 0.0059224
1957.3939 | 0.0059067
1958.3582 | 0.0058785
1959.3224 | 0.0058504
1960.2866 | 0.0058313
1961.2509 | 0.0058256
1962.2151 | 0.0058331
1963.1793 | 0.0058515
1964.1436 | 0.005876
1965.1078 | 0.0058999
1966.072 | 0.0059155
1967.0363 | 0.0059162
1968.0005 | 0.0058993
1968.9647 | 0.0058676
1969.929 | 0.0058273
1970.8932 | 0.0057848
1971.8574 | 0.005745
1972.8217 | 0.0057101
1973.7859 | 0.0056799
1974.7501 | 0.005652
1975.7144 | 0.0056229
1976.6786 | 0.0055905
1977.6428 | 0.0055563
1978.6071 | 0.0055258
1979.5713 | 0.0055083
1980.5355 | 0.0055118
1981.4998 | 0.0055399
1982.464 | 0.0055879
1983.4282 | 0.0056436
1984.3925 | 0.0056898
1985.3567 | 0.0057107
1986.3209 | 0.0056969
1987.2852 | 0.0056498
1988.2494 | 0.0055814
1989.2136 | 0.0055109
1990.1779 | 0.0054565
1991.1421 | 0.0054285
1992.1063 | 0.0054244
1993.0706 | 0.0054321
1994.0348 | 0.005439
1994.999 | 0.0054402
1995.9633 | 0.0054394
1996.9275 | 0.0054451
1997.8917 | 0.0054628
1998.856 | 0.0054916
1999.8202 | 0.0055241
2000.7844 | 0.0055523
##### Extended Information
[Comment]
Sample Name
Comment
User
Division
Company | Bicocca
[Data Information]
Creation Date | 08/04/2019 10.53
Data array type | Linear data array
Horizontal | Wavenumber [cm-1]
Vertical | Abs
Start | 999.91 cm-1
End | 2000.78 cm-1
Data pitch | 0.964233 cm-1
Data points | 1039
[Measurement Information]
Model Name | FT/IR-4100typeA
Serial Number | B117061016
Light Source | Standard
Detector | TGS
Accumulation | Auto (512)
Resolution | 4 cm-1
Zero Filling | On
Apodization | Cosine
Gain | Auto (64)
Aperture | Auto (7.1 mm)
Scanning Speed | Auto (2 mm/sec)
Filter | Auto (30000 Hz)